## Proposal Eval Instructions (hidden)
Initial Screening and Shortlisting of Proposals |  |  | This page should follow Transmission RFP template including the scoring criteria.
1. Initial screening and shortlisting of proposals for Project Qualifications will be performed by Stanley Consultants. The following are step by step instruction for the evaluation process:
1. Verify that the Respondent has provided all information listed in the Proposal Completeness Checklist.
2. Organize the proposals in groups according to the proposed technology
3. Review the information supplied by the Respondent in the Proposal Data Forms in Appendices (List Appendices) and Schedules (List Schedules)
4. Develop an initial qualitative score according to the information supplied by the Respondent in Appendix (List Appendix) and Schedule (List Schedule) for the proposed technology. The qualitative score will be based on the technical viability, development status, developer experience, and financial plan and qualifications.
5. Calculate the levelized cost of electricity (LCOE) for each proposal.
6. Determine the composite score from the weighted qualitative score and the LCOE. |  |  | Follow format of Transmission RFP and use that evaluation table
7. Develop a shortlist from the highest scoring proposals within each technology category.
8. Scoring will be weighted as follows:
Category | Points Available
LCOE | 350 | Match to RFP
Technical Viability | 100
Development Status | 200
Developer Experience | 200
Financing Plan and Qualifications | 150
1000
9. The pricing evaluation will consider the all-in costs that each proposal is expected to impose on the customer, to the extent that the evaluation team is able to quantify such costs. These will include:
a. Natural gas pipeline interconnection costs (by Respondent)
b. Fuel costs based upon MLGW IRP inputs and Respondent-provided heat rate; fuel costs to be provided by MLGW
c. PPA charges, including fixed capacity and variable O&M charges (by Respondent)
d. Costs for required electric transmission system upgrades to accommodate energy injections (by MLGW)
e. Costs for required electric distribution reinforcements (by MLGW)
f. System impacts on transmission transfer capability and capacity return and deliverability (by MLGW).
10. LCOE is defined as the present value of the estimated annual costs of a proposal or cost component of a proposal over the evaluation period (N=years), divided by the equivalent present value of the energy that resource is estimated to produce over the same period.
11. Levelized costs will be expressed in $/MWh and/or $/kW-year.
12. The lowest LCOE will receive 100% of the LCOE points available (350 pts)
13. The remaining proposals will each receive a fraction of the LCOE points available. The fraction will be calculated based on the lowest LCOE divided by the LCOE of each proposal.
14. Qualitative evaluations of Technical Viability, Development Status, Developer Experience and Financing Plan and Qualifications will based on the Respondents information as provided in Appendix (List Appendix) and Schedules (List Schedules)

## Schedule A-Safety
Schedule A - Safety
Safety
Item | Response
List Company's interstate Experience Modification Rate (EMR)
2017
2018
2019
2020
List Company Fatalities for the years below
2017
2018
2019
2020
List Company Lost Workday Cases
2017
2018
2019
2020
List Company Restricted Duty or Transfer Cases
2017
2018
2019
2020
List of all other OSHA reportable injuries
2017
2018
2019
2020
List of all OSHA citations
2017
2018
2019
2020
List of total hours worked by employees subject to OSHA
2017
2018
2019
2020
List lost workday cases as defined by OSHA
2017
2018
2019
2020
List DART cases as defined by OSHA
2017
2018
2019
2020
List Recordable Injury cases as defined by OSHA
2017
2018
2019
2020

## Sch B-Ref for Qualifications
Schedule B - Reference for Qualifications (3 Most Recent Projects) (1)
Category | Reference Project 1 | Reference Project 2 | Reference Project 3
Name of Bidder
Project Name/Location/Unit No:
Owner Name
Total Project Finance Value ($)
In Service Date
Net Megawatt Capacity
How was Project Constructed?(EPC, DBB, etc.)
Developed/Owned/Operated?
What was your role as part of team?
Combustion Turbine Supplier and Model No:
Steam Turbine Supplier and Model No:
HRSG Supplier and Model No:
Plant Configuration (SCGT/CCGT)
Advanced Class Combustion Turbine: (Yes/No)
Fuel Type
Original Scheduled Completion Date:
Actual Completion Date:
Interconnection Provided By Respondent? (Y/N) (Gas/Water/Electrical) | Example:(Y/Y/N)
Operated by (Self, 3rd Party, etc.)
Notes:
1.) In each space provide references to supporting documents or attachments.

## Sch C -Business Information
Schedule C - Business Information
Name and Contact
Item | Response
Company Name:
Contact:
Phone:
Contact:
Email:
Business Classification
Item | Response
Provide Business Classification: (Foreign/Minority/Women/Nonprofit/Sheltered)
Provide short description how business complies with Business Classification identified above:
Provide Labor Affiliation: (Open Shop/Closed Shop)
Does Business have any National Agreement with Trades? (Yes/No). If yes, please list.
Type of Organization
Item | Response
Type of Organization (Corporation/Partnership/Proprietorship)
Organized Date:
Organized State:
Principal Officers/Position/Function/Years with Company
Principal Officers/Position/Function/Years with Company
Principal Officers/Position/Function/Years with Company
Years under present management
Related Division Parent Company and Subsidiaries
Number of Permanent Office Staff and Average Years of Experience:
Number of Field Construction Management and Average Years of Experience:
Number of Normal Field Construction Workers and Average Years of Experience:
Legal Compliance
Item | Response
Provide a list of all federal, state and/or local citations, letters of non-compliance, Notice of Violations, Director’s Orders, Consent Orders, and/or assessed fines or penalties for the past 5 years in addition to any pending or outstanding judgments, claims, arbitration proceedings or suits.

## Sch D -Financial Information
Schedule D - Respondent Financial Information
Item | Response
Attach two most recent years of Audited Income Statements and Balance Sheets.
Largest three contracts completed to date ($) and manhours
Provide location, description and duration of largest three contracts complete to date.
Dunn & Bradstreet Rating
Banking Information
Name of Bank/Location/Contact
Name of Bank/Location/Contact
Name of Bank/Location/Contact
Major Material Supply Houses
Name/Location/Contact
Name/Location/Contact
Name/Location/Contact
Bonding Capacity
Total ($)
Available for this Project ($)
Bonding Company Normally Used

## Sch E -Pricing
Schedule E - Pricing Proposal
Commercial Operation Date |  |  |  | Project Name
MLGW Buyout Provision (Optional)
Acquisition Date |  | Purchase Price |  | Terms of Payment (1)
End of PPA Term
Indicative Project Cost
USD |  | Supporting Information Attached
Historical Costs and Output (2):
Year | Net Generation (MWh) | Equivalent Availability Factor (EAF) | Equivalent Forced Outage Rate (EFOR) | Non-Fuel O&M Costs ($/year) | Fuel Costs ($/year) | Other Costs ($/year) | Capital Expenditures ($/year)
2017
2018
2019
2020
2021
Power Purchase Agreement Pricing
PPA Start Date |  | PPA Term (Years) (3)
Pricing Components: (4) |  | First Year PPA Value |  | Escalation Index |  |  | Comment
Capacity Rate ($/kW-Year)
Fixed O&M Rate ($/kW-Year)
Variable O&M Rate ($/MWh) (5)
Non-Fuel Start-up Charges ($/Start) (5)
Toll Premium ($/Month)
Emission Rates (e.g. $/ton-CO2)
Other, to be desribed
Other, to be desribed
The following are included in the above PPA pricing (Y/N):
1. MISO Network Upgrade costs assigned to project. |  |  |  | (N/A) By MLGW
2. Transmission interconnection costs; including electric lead line from thermal plant to MLGW POI.
3. Pipeline interconnection costs and upgrades.
4. Property taxes.
5. Other
Notes:
1.) Indicate references to attachments describing detailed terms of payment, including alternative payment options.
2.) Historical data applies only to assets already in service. Include references to any attachments.
3.) Minimum PPA term is 20 years, maximum term is 30 years.
4.) RFP Respondent shall complete appropriate information and provide billing determinants (as applicable)
5.) May be appropriate for facilities with LTSA's

## Sch F - Performance
Schedule F - Guaranteed Performance
Thermal Resource
Start-Ups | Shutdown Duration (range of hours) | Start-Up Time (hours, minutes) | Start-Up Fuel Consumption (mmBtu/start) | Start-Up Power (kW/start) | Ramp Rate |  | MW/minute*
Hot start |  |  |  |  | 50% to Max Unfired
Warm start |  |  |  |  | Max Unfired to Fully Fired
Cold start
Minimum Up-Time (hours, minutes) |  | Minimum Down-Time (hours, minutes) |  |  | Duct Firing Temperature (Deg F)*
|  |  | Net Plant Heat Rate (Btu/kWh, HHV) (% based upon Net Capacity Unfired) |  |  |  |  | Equivalent Full-Load Outages
Conditions (1) | Net Capacity (MW) with Duct Firing | Net Capacity (MW) without Duct Firing |  |  |  | Minimum Output (%)
|  |  | 100% | 75% | 50% |  | 100% Load with Duct Firing (3) | Forced (hours/year) | Scheduled (hours/year)
Summer Avg (2)
Winter Avg (2)
Yearly Average
Conditions (1,2) | Emission Rates
| Sulfur Dioxide (SO2, lb/mmBtu) | Nitrous Oxides (NOX, lb/mmBtu) | Carbon Monoxide (CO, lb/mmBtu) | Carbon Dioxide (CO2, lb/mmBtu) | Volatile Organic Compounds (VOC, lb/mmBtu) | Particulates (PM lb/mmBtu) | Particulates (PM2.5, lb/mmBtu) | Total Water Consumption (gallons/hour) | Wastewater Discharge (gallons/hour) | Total HAPs (lb/mmBtu) | Single Highest HAP (lb/mmBtu)
Unfired
Fired
Scheduled Outages |  |  |  |  | Availability Guarantee
Year | Spring Duration (days) | Fall Duration (days) |  |  | Monthly | 12 Month Rolling
2028 |  |  |  | Target Availability (4)
2029 |  |  |  | Incentive / LD (4)
2030 |  |  |  | Long-Term Outage Exemption (if applicable) (5)
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
Notes:
1.) Values shall account for long-term performance degradation. Provide references to any attached correction or degradation curves.
2.) In order to match IRP, Winter = October through March with ISO conditions (59F, 60% RH, Sea Level); Summer =April through September where conditions are (92F, 77% RH, Sea Level).
3.) State any restrictions on the amount of duct firing allowed annually.
4.) Incentive/LD amount expressed in $/hour over or under Target Availability. RFP target for monthly Availability is 97.5% for CCCT and 98.0% for SCCT. RFP target for 12 month rolling Equivalent Availability Factor (EAF) is 85% for CCCT and 90% for SCCT.
5.) If applicable, please describe any exemptions/exclusions from the monthly/12 month rolling availability guarantee for long-term outages.

## Sch G -Suppliers
Schedule G - Suppliers for Major Equipment
Equipment (1) | Anticipated Supplier(s) and Models (2) | Country of Manufacture
Combustion Turbines
Steam Turbines
Transformers
HRSG
Cooling Tower
Condenser
Plant Control Systems
Notes:
1.) As applicable.
2.) Indicate no more than three (3) per category.

## Sch H - SCCT Form
Schedule H - Simple Cycle Completed by Respondent
Technical Viability
Asset Life
Generation asset useful life is 20 or more years
Additional Services Capability
Reactive power supply and voltage control
Automatic Generation Control (AGC)
Development Status
Site Development
Has the Respondent acquired rights to a site for development?
Is the Respondent's site owned by the Respondent?
Is the Respondent's proposed resource physically located within the MISO footprint?
Fuel Source
Does the Respondent's bid include pipeline interconnection costs and upgrades?
Does the Respondent have land rights for a natural gas line?
Interconnection Agreement
(Select only if new resource) | Is the project active in the MLGW interconnection queue?
Construction
(Select only if new resource; select only one) | Has the Respondent issued an EPC (or equivalent) RFP for bids?
Has the Respondent awarded an EPC (or equivalent) contract?
Permitting
(Select only if new resource; select only one) | Water permit applications submitted
Water permit applications approved
(Select only if new resource; select only one) | Wastewater permit applications submitted
Wastewater permit applications approved
(Select only if new resource; select only one) | Air permit applications submitted
Air permit applications approved
Schedule
(Select only one) | Capacity Available on or before January 2, 2028
Capacity Available after January 2, 2028 (specify date)
Developer Experience
Development Experience in the US (MW)
(Select only one) | 0
1 - 100
101 - 200
200+
Number of Power Projects Completed and Operational in MISO
(Select only one) | 1
2
3+
Number of Power Projects Completed and Operational in the US
(Select only one) | 1 - 3
4 - 6
7+
O&M Experience
Does the Respondent have O&M experience with projects of a similar size and resource type?
Does the Respondent intend to Contract for O&M Services? If so, with what entities?
Doest the Respondent intend to secure a long-term service agreement for the CTGs? If so, with what entity?
Financing Plan and Qualifications
Financing Plan
(Select only if self-financing) | Is the Respondent self-financing the project?
(Select only if seeking outside financing) | Has the Respondent previously financed a project of similar size and complexity?
(Select only one) | Number of similar projects previously financed
1
2
3+
Has the Respondent applied for financing commitment by a creditworthy entity?
Does the Respondent have a financing plan that uses an existing financing vehicle to finance the proposed project?
Yes
No
N/A

## Sch I - CCCT Form
Schedule I - Combined Cycle
Technical Viability
Asset Life
Generation asset useful life is 20 or more years
Additional Services Capability
Reactive power supply and voltage control
Automatic Generation Control (AGC)
Development Status
Site Development
Has the Respondent acquired rights to a site for development?
Is the Respondent's site owned by the Respondent?
Is the Respondent's proposed resource physically located within the MISO territory?
Fuel Source
Does the Respondent's bid include pipeline interconnection costs and upgrades?
Does the Respondent have land rights for a natural gas line?
Interconnection Agreement
(Select only if new resource) | Is the project active in the MLGW interconnection queue?
Construction
(Select only if new resource; select only one) | Has the Respondent issued an EPC (or equivalent) RFP for bids?
Has the Respondent awarded an EPC (or equivalent) contract?
Permitting
(Select only if new resource; select only one) | Water permit applications submitted
Water permit applications approved
(Select only if new resource; select only one) | Wastewater permit applications submitted
Wastewater permit applications approved
(Select only if new resource; select only one) | Air permit applications submitted
Air permit applications approved
Schedule
(Select only one) | Capacity Available on or before January 2, 2028
Capacity Available after January 2, 2028 (specify date)
Developer Experience
Development Experience in the US (MW)
(Select only one) | 0
1 - 100
101 - 200
200+
Number of Power Projects Completed and Operational in MISO
(Select only one) | 1
2
3+
Number of Power Projects Completed and Operational in the US
(Select only one) | 1 - 3
4 - 6
7+
O&M Experience
Does the Respondent have O&M experience with projects of a similar size and resource type?
Does the Respondent intend to Contract for O&M Services? If so, with what entities?
Does the Respondent intend to secure a long-term service (LTSA) for the maintenance of any equipment (CTG, STG, HRSG, etc.:please list)? If so, with what entity?
Financing Plan and Qualifications
Financing Plan
(Select only if self-financing) | Is the Respondent self-financing the project?
(Select only if seeking outside financing) | Has the Respondent previously financed a project of similar size and complexity?
(Select only one) | Number of similar projects previously financed
1
2
3+
Has the Respondent applied for financing commitment by a creditworthy entity?
Does the Respondent have a financing plan that uses an existing financing vehicle to finance the proposed project?
Yes
No
N/A